## Results
RESNET Pub 002-17 DHW Test Results:
Software Name: |  |  | Test Case Pass/Fail Criteria
|  |  |  | Duluth MN Cases: | MBtu/y | Range Min | Range Max | Pass/Fail
User input data fields indicated by pale yellow |  |  |  | L100AD-HW-01 | 0 | 19.11 | 19.73 | fail
Test result fields indicated by pale green |  |  |  | L100AD-HW-02 | 0 | 25.54 | 26.36 | fail
|  |  |  | L100AD-HW-03 | 0 | 17.03 | 17.5 | fail
Test Case Results: |  |  |  | L100AD-HW-04 | 0 | 24.75 | 25.52 | fail
| DHW Energy | Recirc Pump |  | L100AD-HW-05 | 0 | 55.43 | 57.15 | fail
Minnesota | [therms] | [kWh] |  | L100AD-HW-06 | 0 | 22.39 | 23.09 | fail
L100AD-HW-01 |  |  |  | L100AD-HW-07 | 0 | 20.29 | 20.94 | fail
L100AD-HW-02 |  |  |  | Miami FL Cases: | MBtu/y | Range Min | Range Max | Pass/Fail
L100AD-HW-03 |  |  |  | L100AM-HW-01 | 0 | 10.59 | 11.03 | fail
L100AD-HW-04 |  |  |  | L100AM-HW-02 | 0 | 13.17 | 13.68 | fail
L100AD-HW-05 |  |  |  | L100AM-HW-03 | 0 | 8.81 | 9.13 | fail
L100AD-HW-06 |  |  |  | L100AM-HW-04 | 0 | 12.87 | 13.36 | fail
L100AD-HW-07 |  |  |  | L100AM-HW-05 | 0 | 30.19 | 31.31 | fail
|  |  |  | L100AM-HW-06 | 0 | 11.9 | 12.38 | fail
| Energy | Pump |  | L100AM-HW-07 | 0 | 11.68 | 12.14 | fail
Florida | [therms] | [kWh] |  | MN Delta Cases: | %Change | Range Min | Range Max | Pass/Fail
L100AM-HW-01 |  |  |  | MN (1-2 delta) | #DIV/0! | -34.01% | -32.49% | #DIV/0!
L100AM-HW-02 |  |  |  | MN (1-3 delta) | #DIV/0! | 10.74% | 11.57% | #DIV/0!
L100AM-HW-03 |  |  |  | MN (2-4 delta) | #DIV/0! | 3.06% | 3.22% | #DIV/0!
L100AM-HW-04 |  |  |  | MN (2-5 delta) | #DIV/0! | -118.5% | -115.6% | #DIV/0!
L100AM-HW-05 |  |  |  | MN (2-6 delta) | #DIV/0! | 12.17% | 12.51% | #DIV/0!
L100AM-HW-06 |  |  |  | MN (2-7 delta) | #DIV/0! | 20.15% | 20.78% | #DIV/0!
L100AM-HW-07 |  |  |  | FL Delta Cases: | %Change | Range Min | Range Max | Pass/Fail
|  |  |  | FL (1-2 delta) | #DIV/0! | -24.54% | -23.47% | #DIV/0!
|  |  |  | FL (1-3 delta) | #DIV/0! | 16.65% | 18.12% | #DIV/0!
|  |  |  | FL (2-4 delta) | #DIV/0! | 2.2% | 2.38% | #DIV/0!
|  |  |  | FL (2-5 delta) | #DIV/0! | -130.9% | -127.5% | #DIV/0!
|  |  |  | FL (2-6 delta) | #DIV/0! | 9.38% | 9.74% | #DIV/0!
|  |  |  | FL (2-7 delta) | #DIV/0! | 11% | 11.4% | #DIV/0!
|  |  |  | MN-FL Delta Cases | %Change | Range Min | Range Max | Pass/Fail
|  |  |  | MN-FL (01) | #DIV/0! | 43.35% | 45% | #DIV/0!
|  |  |  | MN-FL (02) | #DIV/0! | 47.26% | 48.93% | #DIV/0!
|  |  |  | MN-FL (03) | #DIV/0! | 47.38% | 48.74% | #DIV/0!
|  |  |  | MN-FL (04) | #DIV/0! | 46.81% | 48.48% | #DIV/0!
|  |  |  | MN-FL (05) | #DIV/0! | 44.41% | 45.99% | #DIV/0!
|  |  |  | MN-FL (06) | #DIV/0! | 45.6% | 47.33% | #DIV/0!
|  |  |  | MN-FL (07) | #DIV/0! | 41.32% | 42.86% | #DIV/0!

## TestCases (hidden)
Case L100AD-HW-01 (heater base case , evolved from DHW-MN-56-2)
Climate location: Duluth, MN
Bedrooms: 2
Type: 40 gallon storage
Fuel: gas
Efficiency: EF = 0.56
Recovery Efficiency: RE = 0.78
DHW Heater Location: conditioned space
Plumbing fixtures: Standard flow
Pipe insulation: None
Piping length = Reference Home piping length
Recirculation: None (Standard system)
DWHR: None
Case L100AD-HW-02 (distribution base case , evolved from DHW-MN-56-4)
Same as Case L100AD-HW-01 except with 4 bedrooms
Case L100AD-HW-03 (evolved from DHW-MN-62-2)
Same as Case L100AD-HW-01 except gas water heater has EF=0.62
Case L100AD-HW-04
Same as Case L100AD-HW-02 except with all low-flow fixtures (all bath faucets and showers ≤ 2gpm)
Case L100AD-HW-05
Same as Case L100AD-HW-02 except with recirculation
· Control = none
· 50 W pump
· Loop length is same as reference loop length
· Branch length is 10 ft
· All hot water pipes insulated to R-3
Case L100AD-HW-06
Same as Case L100AD-HW-05 except with Control = Manual Demand
Case L100AD-HW-07
Same as Case L100AD-HW-02 except with Drain Water Heat Recovery
· DWHR efficiency = 54%
· All showers connected to DWHR unit
· DWHR preheats both hot and cold supplies for showers
Cases L100AM-HW-01 through L100AM-HW-07
Same as Cases L100AD-HW except climate location = Miami, FL